Test Writers: Alexander Paquette, Alexander Strattard, Dylan Tappendorf

| Test Case Name: | Lidar Turbidity Test #0 | Test ID #: | Lidar-TT-00 |
| --- | --- | --- | --- |
| Description: | The Lidar System should be able to emit a signal and process the phase shift of the return signal in order to calculate water turbidity to a minimum of 80% accuracy. | Type: |  |

| Name of Tester: |  | Date: |  |
| --- | --- | --- | --- |
| Hardware Version: | Lidar 1.0 | Time: |  |

| Setup: | The completed Lidar design should be correctly linked to the external PC and then fully submerged in water. |
| --- | --- |

| Step | Action | Expected Result | Pass | Fail | N/A | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Write a program to collect turbidity data from the Lidar System. | The program should be statistically tested to verify accuracy and real time data. Should sample the turbidity data at a real-time rate. |  |  |  |  |
| 2 | Submerge Lidar System in water and start data collection. | The Lidar System should stay at the bottom of the body of water. The system should remain functional and dry. |  |  |  |  |
| 3 | Log data in external PC GUI for turbidity tracking. | Data should actively show up on the GUI interface in real time with minimal delay. |  |  |  |  |

| Overall Test Result: |  |  |  |  |
| --- | --- | --- | --- | --- |